To:		Mayor and City Council

From:		Bradford D. Townsend, Planning and Zoning Director

Date:		July 2, 2010

Subject:	Request for Parkway Village Small Tract (PV10-01)

Enclosed please find a request for Parkway Village approval for small tract status (PV10-01).  The request has been made by Kevin Attarha of FDB Roswell, LLC.

The site is a 1.94 acre parcel of land located at 300 E. Crossville Road.  The applicant is proposing a plan to allow for three office buildings.  Two of the proposed offices are to be one-story and the third office is proposed to be a two-story office.  The three proposed

offices will total 25,600 square feet.  The minimum parking required for the site is 64 spaces and the maximum is 103 spaces.  The proposed plan indicates 64 parking spaces for project. The hardship being requested is to allow for the detention to be located within the 40’streetscape.

The proposed plan indicates the removal of six specimen trees located on the site.

The site is bounded on the south by Crossville Road.  The site is bounded to the west and east by property owned by Kevin and Kristen Caldwell.  The lot to the east is used as a fence company and the lot to the west is a tree trimming business. To the north of the site, are single family homes located in the Greenway Country Club Estates subdivision, zoned R-1 (Single Family Residential).

The applicant is requesting approval of a Small Tract due to the existing uses and development of the surrounding property.  As required by Section 12.2.10(a) of the Zoning Ordinance, the applicant has presented a plan for the Mayor and City Council’s review.  Should the Council find that “(i) the tract of land can not feasibly be combined with abutting property to create a larger tract of land, or (ii) development of the tract as proposed will result in a better land use than if the small tract were combined with abutting property”, the Council may approve development of the proposed plan.

Background

The site appeared before the Mayor and City Council at the March 10, 2008 hearing for a small tract request. The Mayor and City Council denied this request.  As a result, the applicant filed a civil lawsuit against the City of Roswell in which was later dismissed by the Superior Court of Fulton on February 20, 2009. The applicant then requested a new trial which was also denied as well. FDB Roswell, LLC appealed this decision to the Court of Appeals which then transferred the case to the Superior Court of Georgia who dismissed the appeal based on precedence on September 4, 2009.

A request for small tract status was also denied by the Mayor and City Council at their December 10, 2007 hearing.  At the July 11, 2005 Mayor and City Council hearing, a request for a small tract and hardship on the property was denied as well.

The site survey shows six (6) specimen Oak trees that will be removed due to construction of the buildings and parking area.

Staff Comments

The City Landscape Architect/City Arborist has reviewed the plan for compliance and appropriateness. They have noted that it is approved conditionally pending LDP review and compliance with any conditions imposed by City Council and/or Design Review Board.

The Water Resource Engineer has stated that the proposed detention ponds appear as though they will not meet GSMM requirements. This potentially could alter the site plan if the ponds have to be altered in any manner.

The Department of Transportation has reviewed the plans and made the following comments:

- Obtain GDOT permit prior to any work within the state right-of-way. The GDOT permit shall be acquired prior to issuance of a Land Disturbance permit.

- To improve mobility and safety, the City of Roswell Transportation Department recommends that this proposed driveway be combined with the existing adjacent driveway to the west to provide 1 shared driveway for the 2 parcels.

- Consider inter-parcel connectivity between this parcel and the adjacent parcels to the west and to the east.

- Revise the proposed directional island at the entrance to accommodate pedestrian and wheelchair crossing along Crossville Rd/SR 92 driveway.

- Provide sidewalk connectivity between East Crossville Road/SR 92 sidewalk and the proposed internal sidewalk.

- On Crossville Road/SR 92, where the proposed 5 feet sidewalk tapers to the existing 4 feet sidewalk, a minimum 12:1 sidewalk transition taper shall be used.

- Appropriate ADA ramps shall be provided where necessary. All ADA ramps shall meet the latest GDOT standards.

- A pavement striping plan that meets the latest GDOT and MUTCD standards shall be submitted prior to issuance a Land Disturbance permit. The striping plan shall be extended a minimum 200 feet on either side of the property limits on Crossville Rd/ SR 92.

- Show/Label the dimensions of the proposed right turn deceleration lane along Crossville Rd/ SR 92.

- Show/Label the right-of-way along Crossville Rd/SR 92 frontage and its distance from Crossville Rd/SR 92 centerline.

- Explain the 24 feet stop bar shown on the plan.

- Prior to issuance of a land Disturbance Permit, all necessary construction details shall be provided. (i.e. ADA ramps detail, curb & gutter detail, pavement section detail for the proposed right turn lane, etc.)

The staff recommends approval of this small tract status request, subject to the following conditions:

  - This approval is based upon site plan dated received on June 30, 2010 by the Community Development Department prepared by Engineering Design Technologies, Inc.

  - The applicant shall coordinate with RDOT and GDOT regarding driveway design.

  - The development of the property shall provide inter-parcel access along the three (3) ingress/egress locations that border the adjacent parcels prior to the issuance of a land disturbance permit as required by the Zoning Director [Section 12.2.3 (m)]. It shall be paved up to the property line.

  - The developer shall verify sight distance per AASHTO requirements upon submittal of Land Disturbance Permit/Development Permit documents.

  - The applicant is required to install sidewalk along Crossville Road.

  - Right-of-way may be required to encompass the deceleration lane, sidewalks and ramps.

Attachments:

- Conceptual Site Plan and Landscaping Plan Dated Received June 30, 2010

- Demolition Plan Dated Received June 15, 2010

- Letter of Intent Dated Received June 2, 2010

- Appeal Dismissed from Supreme Court of Georgia dated September 4, 2009

- Court of Appeals Ruling on August 5, 2009

- Order Denying FDB Roswell, LLC Motion for new Trial from Superior Court – Filed June 26, 2009

- Final Order from Superior Court – Filed February 20, 2009

- MCC minutes from March 10, 2008 meeting

- MCC minutes from December 10, 2007 meeting

- MCC minutes from July 11, 2005 meeting

- PVH93-02 approval letter dated January 4, 1994

- MCC minutes from December 13, 1993 meeting

- PV10-01 Aerial Map, Zoning Map, and Location Map

- Article 12.2.10 – Non Single Family – Small Tract Requirement (Parkway Village Overlay District)