## Petition No. DRB09-41

# Project Name			Georgia Commerce Bank

# Property Location	1500 Holcomb Bridge Road (LL 613)

# Owner/Petitioner	Clay Thomas – Georgia

# Representative 	Harri Jarvenpaa – Peacock Partnership, Inc.

# Petitioner’s Request	Exterior Building Facelift and Parking Lot Reconfiguration

Background

The subject property is on 1.509 acres located at 1500 Holcomb Bridge Road. The property is currently zoned C-3 (Highway Commercial District).

The vacant property was previously a furniture store, but is being proposed as a medical office building.  The building is two stories and has a total of 22,025 square feet.  To accommodate the parking requirements for medical office use, the applicant has been approved for a variance for encroaching on the landscape strip fronting Holcomb Bridge Road and proposes a reconfiguration of the parking lot.  The applicant is also proposing the following exterior changes to the building:

- The removal of the existing entry portico

- The new entry feature will be constructed of EIFS to match the rest of the existing building

- The entire building will be painted in neutral colors

Site Plan Analysis

The site plan proposes a reconfiguration of the parking lot to allow for increased parking area.  The increased parking area is both on the west of the building and in the front of the building with the majority of the increase from an added parking row along Holcomb Bridge Road.  The site plan also shows the addition of three landscape islands along the new parking row.

Because the project is redeveloping more than five thousand (5,000) square feet of impervious surface, the applicant must meet City of Roswell requirements for water quality.  PW/Env Department staff has recommended that the applicant use some of the proposed parking area for bio-retention in order to meet the water quality standards.  Due to the decrease in parking spaces on the west side of the building where a bio-retention cell would be best located, Planning and Zoning staff is willing to accept the removal of two (2) of the landscape islands along the new parking row to allow for additional parking spaces.

Landscape Plan Analysis

The landscape plan shows existing trees, trees to be removed, as well as proposed tree and shrub plantings.  Trees proposed to be removed include Maple, Flowering Dogwood, Holly, Crape Myrtle, Pine, Plum and Oak.  The types of proposed trees include Red Maple, Flowering Dogwood, Carolina Silverbell and Sourwood.  Even with the proposed removal of trees, the landscape plan still shows over twice the tree density required by the City of Roswell.  Proposed shrubs along Holcomb Bridge Road include Rose Glow Japanese Barberry, Dwarf Winged Euonymus, Japanese Holly and Red Fringe Flower.

Because of the City of Roswell water quality requirements, a bio-retention cell is recommended on the west side of the building, incorporating 6 parking spaces.  The applicant would need to work with staff to propose appropriate landscaping for the bio-retention cell.  Also, the landscape plan shows three landscape islands along Holcomb Bridge Road frontage to meet the City of Roswell requirements for trees.  The applicant can still meet the tree frontage requirements and remove two (2) of the proposed landscape islands.

Elevations

The elevations show proposed removal of the existing entry portico, the addition of an EIFS entry portal, and painting the existing EIFS more neutral colors.  The proposed South elevation also shows removal of column capitals.  All of the other elevations show the only changes being the EIFS to be painted a new color scheme.  The neutral colors are not specifically indicated on the elevations but stated in the written analysis of design features as a neutral tan and off-white color scheme.

Design Guidelines

The site is subject to the Citywide Design Guidelines as stated in Article 19 of the City of Roswell Zoning Ordinance.  Following is how the applicant has responded to the guidelines:

1.  Shield parked vehicles from view.  The new parking area is below the grade of Holcomb Bridge Road, and is also being screened by new proposed trees and shrubs.

2.  Softscapes.  The applicant is proposing additional trees and shrubs to compliment the work being done to freshen up the building exterior.

4.  Contextual appearance.  The proposed changes are contextually appropriate within the commercial corridor along Holcomb Bridge Road.

Department Comments

Planning:

- The proposed elevations do not indicate the specific colors to be used.

Engineering:

- No comment.

Building:

- No comment.

Tree:

- The landscape plan shows compliance with the City of Roswell landscaping requirements.

PW:

- See attached letter.

Fire:

- All changes to the building must meet the 2000 edition of the Life Safety Code.  The interior buildout or any other Life Safety issues must be dealt with prior to construction or move in.

Transportation:

- No comment.

Recommended Conditions

Staff recommends that this applicant be approved with the addition of a bio-retention cell that meets the City of Roswell requirements for water quality.

Attachments

- DRB application, letter of intent, written analysis, survey, Flood Insurance Rate Map, site plan, elevations, landscape plan, and photographs of existing conditions Dated Received September 1, 2009.