SECTION 075419.11

MECHANICALLY ATTACHED 60 mil PVC SYSTEM

# PART 1 - GENERAL

## DESCRIPTION

### Scope

### To install a complete mechanically-attached roofing system including 60 mil PVC membrane, flashings and other components.

### Related Work

### The work includes, but is not limited to the installation of:

#### Removal of Existing EPDM Roofing, Flashings, Copings, and Defective Insulation

#### Repair and or Replacement of Defective Metal Deck

#### Installation of ¼ inch Dense Deck on the Lobby Roof.  Installation of 1.5  inches of Isocyanurate Insulation and ¼ inch Dense Deck on the Storeroom. Installation of 1.5  inches of Isocyanurate Insulation on the Gymnasium Roof.  Installation of ¼ inch Dense Deck on the Crickets on the Gymnasium Roof.

#### Roof Membrane

#### Fasteners

#### Adhesive for Flashings

#### Roof Membrane Flashings

#### Re-use of concrete Pavers Around Hatches, Ladders, and HVAC Units.

#### Metal Flashings and Copings

#### Sealants

### Upon successful completion of work, the following warranties may be obtained:

#### Roof System Manufacturer’s Warranty

#### Roofing Applicator Warranty

## QUALITY ASSURANCE

### This roofing system shall be applied only by a Roofing Applicator authorized by the manufacturer.

### Upon completion of the installation an inspection will be made by a Technical Service Representative of the manufacturer to determine that the visible elements of the roofing system have been installed in accordance with the project specification, details and approved changes.

### There shall be no deviation made from the Project Specification or the approved shop drawings without prior written approval by the Owner, the Owner's Representative and manufacturer’s representative

### Applicable code/insurance requirements shall be identified by the Owner or Owner’s representative.

## SUBMITTALS

### Shop drawings required by the project specifications shall be submitted to and accepted by the roof system manufacturer.

### The Applicator shall submit written verification from the manufacturer that they are an authorized Applicator.

### The Applicator shall verify that the specifications for the roofing project are in accordance with the manufacturer’s requirements.

### Sample copy of Manufacturer’s warranty.

### Sample copy of Applicator's warranty.

## PRODUCT DELIVERY, STORAGE AND HANDLING

### All products delivered to the job site shall be in the original unopened containers or wrappings bearing all seals and approvals.

### Handle all materials to prevent damage.  Place all materials on pallets and fully protect from moisture.

### Membrane rolls shall be stored lying down on pallets and fully protected from the weather with clean canvas tarpaulins. Unvented polyethylene tarpaulins are not accepted due to the accumulation of moisture beneath the tarpaulin in certain weather conditions that may affect the ease of membrane weldability.

### As a general rule all adhesives shall be stored at temperatures between 40 degree F (5 degree C) and 80 degree F (27 degree C).  Read instructions contained on adhesive canister for specific storage instructions.

### All flammable materials shall be stored in a cool, dry area away from sparks and open flames.  Follow precautions outlined on containers or supplied by material manufacturer/supplier.

### Any materials which the Owner’s representative or manufacturer determine to be damaged are to be removed from the job site and replaced at no cost to the Owner.

### Material Safety Data Sheets (MSDS) shall be available at the job site at all times.

## JOB CONDITIONS

### Materials may not be installed under certain adverse weather conditions.

### Only as much of the new roofing as can be made weather tight each day shall be installed.  All seams shall be heat welded before leaving the job site that day.

### All work shall be scheduled and executed without exposing the interior building areas to the effects of inclement weather.  The existing building and its contents shall be protected against all risks.

### All surfaces to receive new insulation, membrane or flashings shall be dry.  Should surface moisture occur, the Applicator shall provide the necessary equipment to dry the surface prior to application.

### All new and temporary construction, including equipment and accessories, shall be secured in such a manner as to preclude wind blow-off and subsequent roof or equipment damage.

### Uninterrupted water stops shall be installed at the end of each day's work and shall be completely removed before proceeding with the next day's work. Water stops shall not emit dangerous or unsafe fumes and shall not remain in contact with the finished roof as the installation progresses.  Contaminated membrane shall be replaced at no cost to the Owner.

### The Applicator is cautioned that PVC membranes are incompatible with asphalt, coal tar, heavy oils, roofing cements, creosote and some preservative materials.  Such materials shall not remain in contact with PVC membranes.  The Applicator shall consult the manufacturer regarding compatibility, precautions and recommendations.

### Arrange work sequence to avoid use of newly constructed roofing as a walking surface or for equipment movement and storage.  Where such access is absolutely required, the Applicator shall provide all necessary protection and barriers to segregate the work area and to prevent damage to adjacent areas.  A substantial protection layer consisting of plywood over insulation board shall be provided for all new and existing roof areas that receive rooftop traffic during construction.

### Prior to and during application, all dirt, debris and dust shall be removed from surfaces by vacuuming, sweeping, blowing with compressed air or similar methods.

### The Applicator shall follow all safety regulations as required by OSHA and any other applicable authority having jurisdiction.

### All roofing, insulation, flashings and metal work removed during construction shall be immediately taken off site to a legal dumping area authorized to receive such materials.  Hazardous materials, such as materials containing asbestos, are to be removed and disposed of in strict accordance with applicable City, State and Federal requirements.

### All new roofing waste material (i.e., scrap roof membrane, release paper, empty cans of adhesive) shall be immediately removed from the site by the Applicator and properly transported to a legal dumping area authorized to receive such material.

### The Applicator shall take precautions that storage and application of materials and equipment does not overload the roof deck or building structure.

### Flammable adhesives and deck primers shall not be stored and not be used in the vicinity of open flames, sparks and excessive heat.

### All rooftop contamination that is anticipated or that is occurring shall be reported to manufacturer to determine the corrective steps to be taken.

### The Applicator shall verify that all roof drain lines are functioning correctly (not clogged or blocked) before starting work.  Applicator shall report any such blockages in writing to the Owner's Representative for corrective action prior to the installation of the roof system.

### Applicator shall immediately stop work if any unusual or concealed condition is discovered and shall immediately notify Owner of such condition in writing for correction at the Owner's expense.

### Site cleanup, including both interior and exterior building areas that have been affected by construction, shall be completed to the Owner's satisfaction.

### All landscaped areas damaged by construction activities shall be repaired at no cost to the Owner.

### The Applicator shall conduct fastener pullout tests in accordance with the latest version of the SPRI/ANSI Fastener Pullout Standard to help verify condition of the deck/substrate and to confirm expected pullout values.

### The PVC membrane shall not be installed under the following conditions without consulting the manufacturer for precautionary steps:

#### The roof assembly permits interior air to pressurize the membrane underside.

#### Any exterior wall has 10 percent or more of the surface area comprised of opening doors or windows.

#### The wall/deck intersection permits air entry into the wall flashing area.

### Precautions shall be taken when using adhesives at or near rooftop vents or air intakes.  Adhesive odors could enter the building.  Coordinate the operation of vents and air intakes in such a manner as to avoid the intake of adhesive odor while ventilating the building.  Keep lids on unused cans at all times.

### Protective wear shall be worn when using solvents or adhesives or as required by job conditions.

### PVC membranes are slippery when wet or covered with snow, frost, or ice.  Working on surfaces under these conditions is hazardous.  Appropriate safety measures must be implemented prior to working on such surfaces.  Always follow OSHA and other relevant fall protection standards when working on roofs.

## WARRANTIES

### Roof Membrane Warranty (only products purchased from manufacturer are covered under manufacturer’s Roof Membrane Warranty)

### Upon successful completion of the work to material manufacturer’s satisfaction and receipt of final payment, the Roof Membrane Warranty shall be issued.

### Applicator/Roofing Contractor Warranty

### Applicator shall supply Owner with a separate workmanship warranty.

### Material manufacturer’s warranty shall be in effect for a 20-year duration.

### Applicator’s/Roofing Contractor’s Warranty shall be in effect for a 2-year duration.

# PART 2 - PRODUCTS

## GENERAL

### Condensation or moisture migration into the roof system must be controlled so that it does not compromise the performance of the insulation and other components of the assembly.  Moisture vapor tends to migrate from warmer to cooler areas.  Air/vapor retarders are used to inhibit or block the flow of warm moist air into the roof system.  To determine if an air/vapor barrier is necessary, a design professional with experience with air handling and moisture control should be consulted.

Special consideration should be given to construction related moisture.  An example is the significant amount of moisture generated when concrete floor slabs are poured after the roof has been installed.  The roof system manufacturer is not responsible for damage to the insulation when exposed to construction related moisture.

## MEMBRANE

### PVC polyester reinforced membrane.

#### PVC polyester reinforced membrane, 60 mil (1.5 mm), thermoplastic membrane with polyester reinforcement.

### Typical Physical Properties

| Parameters | ASTM Test Method | Minimum ASTM Requirement | ERP Project Physical Properties |
| --- | --- | --- | --- |
| Reinforcing Material | - |  | Polyester |
| Overall Thickness, min., inches (mm) | D751 | 0.045 (1.14) | 0.060 (1.5) nominal |
| Thickness Over Scrim, inches (mm) | D751 | - | 0.026 (0.66) avg. |
| Breaking Strength, min., lbf/in. (KN/m) | D751 | 200 (35.0) | 303 (53.1) |
| Elongation at Break, min. | D751 |  |  |
| Machine Direction |  | 15% | 42% |
| Cross Machine Direction |  | 15% | 47% |
| Seam strength*, min. (% of breaking strength) | D751 | 75 | 85 |
| Retention of Properties After Heat Aging | D3045 | - | - |
| Tensile Strength, min., (% of original) | D751 | 90 | 95 |
| Elongation, min., (% of original) | D751 | 90 | 90 |
| Tearing Strength, min., lbf (N) | D1004 | 45.0 (200) | 50 (220) |
| Low Temperature Bend, -40°F (-40°C) | D2136 | Pass | Pass |
| Accelerated Weathering Test (Florescent Light, UV exposure) | G154 | 5,000 Hours | 10,000 Hours |
| Cracking (7x magnification) | - | None | None |
| Discoloration (by observation) | - | Negligible | Negligible |
| Crazing (7 x magnification) | - | None | None |

| Linear Dimensional Change | D1204 | 0.5% max. |  | 0.24% |
| --- | --- | --- | --- | --- |
| Weight Change After Immersion in Water | D570 | + 3.0% max. |  | 2.5% |
| Static Puncture Resistance, 33 lbf (15 kg) | D5602 | Pass |  | Pass |
| Dynamic Puncture Resistance, 14.7 ft-lbf (20 J) | D5635 | Pass |  | Pass |
| Initial Solar Reflectance | E903 | - |  | 0.81 |
| Emissivity | E408, C1371, Other |  | - | 0.85 |
| Solar Reflective Index (SRI) | E1980 | - |  | 101 |
| Recycled Content (5 & 10 ft. sheets only) | Up to 12% Pre-Consumer / Up to 1% Post Consumer. |  |  |  |
| * Failure occurs through membrane rupture not seam failure. Physical Properties shown are prior to applying felt backing, if specified. |  |  |  |  |

## FLASHING MATERIALS

### Wall/Curb Flashing

#### PVC Membrane flashing

#### PVC laminated metal flashing

#### Prefabricated flashings

### Perimeter Edge Flashings

#### PVC laminated metal flashings

#### Non-Typical Edge

### Miscellaneous Flashings

#### Prefabricated Corners - Universal

#### Prefabricated outside and inside flashing corners made of 0.060 inch (60 mil/1.5 mm) thick membrane that are heat-welded to membrane or base flashings.

#### Multi-Purpose Sealant

#### A proprietary sealant used at flashing terminations.

#### LV (Low Volatile) Adhesive

#### A low volatile reactivating-type adhesive used to attach membrane to flashing substrate.

## INSULATION/OVERLAYMENT/RECOVER BOARD

### DensDeck

A siliconized gypsum, fire-tested hardboard with glass-mat facers..

## ATTACHMENT COMPONENTS

### Consult respective product data sheets for additional information.

### XP Fasteners

A #15, heavy-duty, corrosion-resistant fastener used with plates to attach insulation or to attach roof membrane to steel or wood roof decks.

## MISCELLANEOUS FASTENERS AND ANCHORS

### All fasteners, anchors, nails, straps, bars, etc. shall be post-galvanized steel, aluminum or stainless steel.  Mixing metal types and methods of contact shall be assembled in such a manner as to avoid galvanic corrosion.  Fasteners for attachment of metal to masonry shall be expansion type fasteners with stainless steel pins.  All concrete fasteners and anchors shall have a minimum embedment of 1-1/4 inch (32 mm) and shall be approved for such use by the fastener manufacturer.  All miscellaneous wood fasteners and anchors used for flashings shall have a minimum embedment of 1 inch (25 mm) and shall be approved for such use by the fastener manufacturer.

# PART 3 – EXECUTION

## PRE-CONSTRUCTION CONFERENCE

### The primary contractor shall conduct a pre-roofing conference before any work begins, so all parties involved in the roofing system construction, or who may work on or through the roofing system, understand their obligations with respect to the roofing membrane.

## SUBSTRATE CONDITION

### Applicator shall be responsible for acceptance or provision of proper substrate to receive new roofing materials.

### Applicator shall verify that the work done under related sections meets the following conditions:

#### Roof drains and scuppers have been reconditioned or replaced and installed properly.

#### Roof curbs, nailers, equipment supports, vents and other roof penetrations are properly secured and prepared to receive new roofing materials.

#### All surfaces are smooth and free of dirt, debris and incompatible materials.

#### All roof surfaces shall be free of water, ice and snow.

## SUBSTRATE INSPECTION

### A dry, clean and smooth substrate shall be prepared to receive PVC  mechanically-attached roof system.

### The substrate shall be clean, smooth, dry, free of flaws, sharp edges, loose and foreign material, oil and grease.  Roofing shall not start until all defects have been corrected.

### All roof surfaces shall be free of water, ice and snow.

### PVC system shall be applied over compatible and accepted substrates only.

## SUBSTRATE PREPARATION

### For existing gravel surfaces: Gravel shall be removed or leveled. If necessary, accumulations of bitumen or other irregularities shall be scratched and removed so as to produce a flat, smooth surface. Insulation boards shall lay flat from one board to another.

### All areas of wet insulation shall be removed and replaced.

### Surfaces on which the PVC membrane is to be applied shall be compatible, clean, smooth, free of sharp edges, loose and foreign material, oil, grease and bitumen.

### When possible, work shall begin at the high point of the roofing area and proceed to the lowest point.

## WOOD NAILER INSTALLATION

### Install continuous treated wood nailers at the perimeter of the entire roof and around roof projections and penetrations as shown on the Detail Drawings.

### New and existing nailer attachment shall meet the requirements of the current Factory Mutual Loss Prevention Data Sheet 1-49.

### Thickness shall be as required to match substrate and insulation height to allow a smooth transition.

### Stainless steel, corrosion resistant, fasteners are required when mechanically attaching any PVC product to wood nailers and wood products treated with ACQ (Alkaline copper Quaternary).  When ACQ treated wood is used on steel roof decks or with metal edge detailing, a separation layer must be placed between the metal and ACQ treated wood.

## INSULATION INSTALLATION

### General criteria:

### Insulation shall be installed according to insulation manufacturer's instructions.

### Insulation shall be neatly cut to fit around penetrations and projections.

### Install tapered insulation in accordance with insulation manufacturer's shop drawings.

### Install tapered insulation around drains creating a drain sump.

### Do not install more insulation board than can be covered with PVC membrane by the end of the day or the onset of inclement weather.

### Use at least 2 layers of insulation when the total insulation thickness exceeds 2-1/2 inches (64 mm). Stagger joints at least 12 inches (0.3 m) between layers.

### Mechanical Attachment

#### Insulation shall be mechanically fastened to the deck with approved fasteners and plates at the rate of one fastener per every three square feet per the  material manufacturer’s recommendations for fastening rates and patterns.  The quantity and locations of the fasteners and plates shall also cause the insulation boards to rest evenly on the roof deck/substrate so that there are no significant and avoidable air spaces between the boards and the substrate.  Each insulation board shall be installed tightly against the adjacent boards on all sides.

#### Fasteners are to be installed consistently in accordance with fastener manufacturer's recommendations.  Fasteners are to have minimum penetration into structural deck recommended by the fastener manufacturer and PVC material manufacturer.

#### Use fastener tools with a depth locator and torque-limiting attachment as recommended or supplied by fastener manufacturer to ensure proper installation.

## OVERLAYMENT BOARD INSTALLATION

### General Criteria:

#### Boards shall be installed according to manufacturer's instructions.

#### Boards shall be neatly cut to fit around penetrations and projections.

#### Do not install more boards than can be covered with PVC membrane by end of day or onset of inclement weather.

#### Boards shall be installed tightly against adjacent boards on all sides.

#### Boards shall evenly on roof deck/substrate so that there are no significant and avoidable air spaces between boards and substrate.

### Mechanical Attachment of Overlayment Board

#### Overlayment board shall be mechanically fastened to deck with approved fasteners and plates at a rate according to overlayment board manufacturers, FM's and material manufacturer’s recommendations for fastening rates and patterns.

#### Fasten overlayment board per layout indicated on detail drawing.  Fasteners must be tight enough so insulation plates do not turn, but not so tight as to deform them.

#### Fasteners shall be installed consistently in accordance with fastener manufacturer's recommendations.  Fasteners shall have a minimum penetration of 1 inch (25 mm) through structural deck.

#### Use fastener tools with a depth locator and torque-limiting attachment as recommended or supplied by fastener manufacturer to ensure proper installation.

## INSTALLATION OF MECHINCALLY ATTACHED PVC MEMBRANE

### The surface of the insulation or substrate shall be inspected prior to installation of the roof membrane.  The substrate shall be clean, dry, free from debris and smooth with no surface roughness or contamination.  Broken, delaminated, wet or damaged insulation boards shall be removed and replaced.

### General

#### The membrane is to be attached with approved fasteners according to the manufacturer’s and wind uplift requirements per ASCE 7 or Factory Mutual.

#### Membrane overlaps shall be shingled with the flow of water where possible.

#### Full-width rolls shall be fastened perpendicular to the direction of the deck where possible.

#### Fasteners shall clamp the PVC membrane tightly to the substrate.

#### Tack welding of PVC full or half-width rolls for purposes of temporary restraint during installation is not permitted and may result in voiding of the Roof Systems warranty.

### Perimeter and Corner Areas

#### Manufacturer approved fasteners are installed along the edge of the membrane on the fastening line at a spacing determined by the manufacturer.  The 2-3/8 inch fastener plate is held back 5/8 inch (15.8 mm) from the outer edge of the membrane.  The adjacent half-roll is positioned to overlap the fastened edge of the first half-roll by 5-1/2 inches in accordance with the overlap lines marked on its edge.  The 5-1/2 inch (140 mm) overlap will allow the top membrane to extend 2-1/2 inches (63 mm) past the fastener and disc.  The 7 inch (177.8 mm) overlap will allow the top membrane to extend 2-1/4 inches (57.2 mm) past the fastener and disc for heat-welding.  In corner areas where perimeter half-rolls intersect, add rows of approved fasteners and discs over the top of the half-rolls and weld a cover strip above them for water tightness.  See Detail Drawings.

Notes:

##### Perimeter area is defined as the outer boundary of the roof.  If the roof is broken into different levels, each roof area shall be treated as an individual roof with its outer boundary being treated as a perimeter.  Typically, internal expansion joints and firewalls are not considered to be full perimeters.  Refer to Factory Mutual’s Data Sheet 1-28 for more information.

##### The ridge area is defined as the high point in the roof area formed by two intersecting planes.  When the sum of the slopes is a minimum of 4 inches in 12 inches (30 degrees), each side of the ridge shall be treated as a perimeter area.

#### Hot-air weld overlaps according to manufacturer’s requirements. Seam test cuts shall be taken at least 3 times per day.

### Interior Area

#### The fasteners and discs are installed along the edge of the membrane on the fastening line at a spacing determined by the manufacturer.  The 2-3/8 inch fastener plate is held back 5/8 inch (15.8 mm) from the outer edge of the membrane.  The adjacent full-roll is positioned to overlap the fastened edge of the first full-roll by 5-1/2 inches (140 mm) for the approved fastener in accordance with the overlap lines marked on its edge.  The 5-1/2 inch (140 mm) overlap will allow the top membrane to extend 2-1/2 inches (63 mm) past the fastener for heat-welding.

#### Hot-air weld overlaps according to PVC manufacturer’s recommendations.  Seam test cuts shall be taken at least 3 times per day.

### Securement Around Rooftop Penetrations

#### Around all perimeters, at the base of walls, drains, curbs, vent pipes, or any other roof penetrations, approved fasteners shall be installed according to perimeter rate of attachment.  Fasteners shall be installed according to the manufacturer’s instructions.  Fasteners shall be installed using the fastener manufacturer’s recommended torque-sensitive fastening tools with depth locators.

#### PVC membrane flashings shall extend 2-1/2 inches (63 mm) past the fastener and be hot-air welded to a PVC deck membrane.

## HOT-AIR WELDING OF SEAM OVERLAPS

### General

#### All seams shall be hot-air welded.  Seam overlaps should be 5-1/2 inches (140 mm) wide for PVC fasteners when automatic machine-welding and 4 inches (100 mm) wide when hand-welding, except for certain details.

#### Welding equipment shall be approved by the manufacturer.  All mechanics intending to use the equipment shall have successfully completed a training course.

#### All membrane to be welded shall be clean and dry.

### Hand-Welding

Hand-welded seams shall be completed in two stages.  Hot-air welding equipment shall be allowed to warm up for at least one minute prior to welding.

#### The back edge of the seam shall be welded with a narrow but continuous weld to prevent loss of hot air during the final welding.

#### The nozzle shall be inserted into the seam at a 45 degree angle to the edge of the membrane.  Once the proper welding temperature has been reached and the membrane begins to "flow”, the hand roller is positioned perpendicular to the nozzle and rolled lightly.  For straight seams, the 1-1/2 inch (40 mm) wide nozzle is recommended for use.  For corners and compound connections, the 3/4 inch (20 mm) wide nozzle shall be used.

### Machine Welding

#### Machine welded seams are achieved by the use of approved automatic welding equipment.  When using this equipment, instructions shall be followed and local codes for electric supply, grounding and over current protection observed.  Dedicated circuit house power or a dedicated portable generator is recommended.  No other equipment shall be operated simultaneously off the generator.

#### Metal tracks may be used over the deck membrane and under the machine welder to minimize or eliminate wrinkles.

### Quality Control of Welded Seams

#### The Applicator shall check all welded seams for continuity using a rounded screwdriver.  Visible evidence that welding is proceeding correctly is smoke during the welding operation, shiny membrane surfaces, and an uninterrupted flow of dark grey material from the underside of the top membrane.  On-site evaluation of welded seams shall be made daily by the Applicator at locations as directed by the Owner's Representative or manufacturer’s representative.  One inch (25 mm) wide cross-section samples of welded seams shall be taken at least three times a day.  Correct welds display failure from shearing of the membrane prior to separation of the weld.  Each test cut shall be patched by the Applicator at no extra cost to the Owner.

## MEMBRANE FLASHINGS

All flashings shall be installed concurrently with the roof membrane as the job progresses.  No temporary flashings shall be allowed without the prior written approval of the Owner's Representative and manufacturer.  Approval shall only be for specific locations on specific dates.  If any water is allowed to enter under the newly completed roofing, the affected area shall be removed and replaced at the Applicator's expense.  Flashing shall be adhered to compatible, dry, smooth, and solvent-resistant surfaces.  Use caution to ensure adhesive fumes are not drawn into the building.

### LV Adhesive for Membrane Flashings

#### Over the properly installed and prepared flashing substrate, Low Volatile adhesive shall be applied according to instructions found on the Product Data Sheet.  The adhesive shall be applied in smooth, even coats with no gaps, globs or similar inconsistencies.  Only an area which can be completely covered in the same day's operations shall be flashed.  The bonded sheet shall be pressed firmly in place with a hand roller.

#### No adhesive shall be applied in seam areas that are to be welded.  All panels of membrane shall be applied in the same manner, overlapping the edges of the panels as required by welding techniques.

### Install membrane in accordance to the Detail Drawings with approved fasteners into the structural deck at the base of parapets, walls and curbs.

### Manufacturer’s requirements and recommendations and the specifications shall be followed.  All material submittals shall have been accepted by the manufacturer prior to installation.

### All flashings shall extend a minimum of 8 inches (0.2 m) above roofing level unless otherwise accepted in writing by the Owner's Representative and the Manufacturer’s Technical Department.

### All flashing membranes shall be consistently adhered to substrates.  All interior and exterior corners and miters shall be cut and hot-air welded into place.  No bitumen shall be in contact with the PVC membrane.

### All flashing membranes shall be mechanically fastened along the counter-flashed top edge with approved metal at 6-8 inches (0.15-0.20 m) on center.

### Flashings shall be terminated according to the manufacturer’s recommended details.

### All adhered flashings that exceed 30 inches (0.75 m) in height or that of the perimeter spacings shall receive additional securement.  Consult the Manufacturer’s Technical Department for securement methods.

### All mechanically-attached flashings that exceed 18 inches (0.46 m) in height shall receive additional securement.  Consult the Manufacturer’s Technical Department for securement methods.

## METAL FLASHINGS

### Metal details, fabrication practices and installation methods shall conform to the applicable requirements of the following:

#### Factory Mutual Loss Prevention Data Sheet 1-49 (latest issue).

#### Sheet Metal and Air Conditioning Contractors National Association, Inc. (SMACNA) - latest issue.

### Metal, other than that provided by manufacturer, is not covered under the manufacturer’s warranty.

### Complete all metal work in conjunction with roofing and flashings so that a watertight condition exists daily.

### Metal shall be installed to provide adequate resistance to bending to allow for normal thermal expansion and contraction.

### Metal joints shall be watertight.

### Metal flashings shall be securely fastened into solid wood blocking.  Fasteners shall penetrate the wood nailer a minimum of 1 inch (25 mm).

### Airtight and continuous metal hook strips are required behind metal fascias.  Hook strips are to be fastened 12 inches (0.3 m) on center into the wood nailer or masonry wall.

### Counter flashings shall overlap base flashings at least 4 inches (100 mm).

### Hook strips shall extend past wood nailers over wall surfaces by 1-1/2 inch (38 mm) minimum and shall be securely sealed from air entry.

## METAL BASE FLASHINGS/EDGE METAL

All flashings shall be installed concurrently with the roof membrane as the job progresses.  No temporary flashings shall be allowed without the prior written approval of the Owner's Representative and material manufacturer.  Acceptance shall only be for specific locations on specific dates.  If any water is allowed to enter under the newly completed roofing due to incomplete flashings, the affected area shall be removed and replaced at the Applicator's expense.

### Approved metal flashings shall be formed and installed per the Detail Drawings.

#### All metal flashings shall be fastened into solid wood nailers with two rows of post galvanized flat head annular ring nails, 4 inches (100 mm) on center staggered.  Fasteners shall penetrate the nailer a minimum of 1 inch (25 mm).

#### Metal shall be installed to provide adequate resistance to bending and allow for normal thermal expansion and contraction.

### Adjacent sheets of PVC coated metal shall be spaced 1/4 inch (6 mm) apart.  The joint shall be covered with 2 inch (50 mm) wide aluminum tape.  A 4 inch minimum (100 mm) wide strip of PVC flashing membrane shall be hot-air welded over the joint.  Exercise caution at perimeter of roof. Workers shall follow OSHA safety procedures.

## WALKWAY INSTALLATION

### Pavers

Install existing pavers at ladders, hatches, and around HVAC units.

## TEMPORARY CUT-OFF

All flashings shall be installed concurrently with the roof membrane in order to maintain a watertight condition as the work progresses.  All temporary waterstops shall be constructed to provide a 100 percent watertight seal.  The stagger of the insulation joints shall be made even by installing partial panels of insulation.  The new membrane shall be carried into the waterstop.  Waterstop shall be sealed to the deck and substrate so that water will not be allowed to travel under the new or existing roofing.  The edge of the membrane shall be sealed in a continuous heavy application of sealant as described in Section Error: Reference source not found.  When work resumes, the contaminated membrane shall be cut out. All sealant, contaminated membrane, insulation fillers, etc. shall be removed from the work area and properly disposed of offsite. None of these materials shall be used in the new work.

If inclement weather occurs while a temporary waterstop is in place, the Applicator shall provide the labor necessary to monitor the situation to maintain a watertight condition.

If any water is allowed to enter under the newly-completed roofing, the affected area shall be removed and replaced at the Applicator's expense.

## COMPLETION

Prior to demobilization from the site, the work shall be reviewed by the Owner's Representative and the Applicator.  All defects noted and non-compliances with the Specifications or the recommendations of the manufacturer shall be itemized in a punch list.  These items must be corrected immediately by the Applicator to the satisfaction of the Owner's Representative and the manufacturer prior to demobilization.

All Warranties referenced in this Specification shall have been submitted and have been accepted at time of contract award.

## DETAILS

Refer to the NRCA Typical System Details section.