Section 5.4.14 - Hazardous Occupancies.

The following provisions and prohibitions are required when a structure's use is hazardous to the public health, safety and welfare:

- General site plan. A general site plan drawn at a legible scale which shall include, but not be limited to, the location of all buildings, exterior storage facilities, permanent access ways, evacuation routes, parking lots, internal roads, chemical loading areas, equipment cleaning areas, storm and sanitary sewer accesses, emergency equipment and adjacent property uses. The exterior storage areas shall be identified with the hazard classes and the maximum quantities per hazard class of hazardous materials stored.

- Building floor plan. A building floor plan drawn to a legible scale which shall include, but not be limited to, all hazardous materials storage facilities within the building and shall indicate rooms, doorways, corridors, exits, fire rated assemblies with their hourly rating, location of liquid tight rooms, and evacuation routes. Each hazardous material storage facility shall be identified on the plan with the hazard classes and quantity range per hazard class or the hazardous materials stored.

- Construction near or on a lot containing a billboard, pylon sign or off-premises sign. Construction of any structure, building, or appurtenance adjacent to, or on a lot containing a billboard, pylon sign or off-premises sign under the provisions of this section shall require that:

- No buildings, structures, parking or appurtenances may be constructed within the "fall zone" of such sign, except that when the fall zone extends beyond the property line of the parcel on which the billboard, pylon or sign is located, then buildings, structures, parking and appurtenances shall not be restricted on the adjacent property. A "fall zone" is defined as an area equal to one hundred (100) percent of the height of the sign in every direction.

- No subdivision of a parcel containing a billboard shall be permitted unless the subdivided lot containing the billboard is large enough to encompass the "fall zone" of such billboard.

- For purposes of this ordinance a billboard shall be defined as any sign greater than twelve (12) feet in height as measured from the ground at the base of the sign. Such billboards shall be considered to be the principal use of such parcel.

- The provisions of this section shall not apply to a parcel containing a billboard on or before December 7, 2009 or the date of adoption of this ordinance [December 14, 2009], whichever is later, provided such billboard is a nonconforming use and was established pursuant to a recorded irrevocable permanent ownership interest in a dominant estate (not a lease) and the proposed construction of the structure, building or appurtenance shall occur on the servient estate. The owner of such parcel, prior to issuance of a land disturbance permit, shall file a binding covenant that shall run with the land in the Superior Court of Fulton County declaring that should the occasion or opportunity ever arise in the future to have the billboard use ended or removed, either by law, equity or contract, regardless of cost, the billboard shall be permanently removed from the parcel.

(2009-12-18, § 1(Exh. A), Amended, 12/14/2009; 2003-06-15, Added, 06/16/2003, Subsection (c))