## Petition No. DRB11-37

# Project Name			Fellowship Christian School

# Property Location	10965 Woodstock Road

# Owner/Petitioner	Fellowship Christian School

Representative			Jeff Van Pelt

# Petitioner’s Request	Lighting, sound system and bleachers

Background

The applicant is seeking approval of a proposed light and sound system as well as bleachers for a football field.  The property is currently a school that intends to have football games on Friday nights.  The applicant was approved under CU11-02 to have lights and sound systems.  Please see attached approval letter.  The applicant met with staff and Board members to discuss this project.

Site Plan Analysis

The site plan shows the location of the light poles.

Landscape Plan Analysis

No change.

Elevations

No change.

Design Guidelines

The site is regulated by the Citywide design guidelines.

Department Comments

Landscape:

- Evergreen trees are specified by height in the industry, not caliper.  In order to get .9 units for an evergreen tree, height must be specified as 9-10’.

- Recommend substituting Green Giant Arborvitae for some of the Cryptomeria.

- What about the replacement of all the dead and missing trees already on the site?

- Spacing of maple trees is 15’ per plan.  Recommend at least 30’ O.C.

Engineering:

- No comment.

Building:

- Full handicap access is required for the facility.

- Restrooms are not shown on the plans, but are required.

PW:

- Drainage easements are required for all pipes that pick up drainage from the public road and convey through the site.  We have previously asked for these easements.

- A master plan showing all existing and proposed impervious area is necessary.  Also, an analysis showing that the impervious area is within the limits shown in the hydrology study.  We have previously asked for this information.

Fire:

- No comments.

Transportation:

- Prior to construction the required right turn deceleration lane along Woodstock Road at the unsignalized access, reanalyze its need and submit the result of the analysis within 6-9 months from August 5, 2011.

- The school should, at its own cost, hire a traffic officer(s) during major sports events in order to accommodate safe and continuous traffic flow along Woodstock Road, Jones Road and Devreux Chase.

- Avoid scheduling major sports event simultaneously with Roswell High and Blessed Trinity through coordination.  State how the coordination will take place.

- The ROW along Woodstock Road shall encompass the entire public sidewalk plus a minimum one foot.  Update ROW plans accordingly and provide written note that this requirement is met.

Recommended Conditions

Staff recommends that this applicant be approved.

Attachments

Application, letter of intent, CU11-02 approval letter, light/sound reports.